## Slide 1
B17 Smart Controller
Dekie Cheng
July 2023

## Slide 2
Physical Device Structure
172.1.1.1
172.1.1.2
172.1.1.3
172.1.1.n
WindowsAPP
FlexFlow DB
EPPS DB

## Slide 3
System Structure
This service will run on backend by specified interval time, and read the values from the physical device and store into DB tables
Display in Dashboard
SQL Server DB
Watermeter1
Watermeter2
Watermeter3
….
Watermeter15
electricity meter1
electricity meter2
electricity meter3
….
electricity meter15
Air-conditioning chilled water flow meter1
Air-conditioning chilled water flow meter2
….
Air-conditioning chilled water flow meter15
RS485
RS485
RS485
RS485
172.1.1.1
172.1.1.2
172.1.1.3
172.1.1.n
Compressed air flowmeter1
Compressed air flowmeter2
….
Compressed air flowmeter15
水表
立方米
空调冷冻水流量计 累积流量（Nm3）
瞬时流量(Nm3/h)
瞬时流速(m/s)
进水温度
出水温度
瞬时热量（GJ/h）
累积热量(GJ)
压缩空气流量计
累积流量（Nm3）
瞬时流量(Nm3/h)
瞬时流速(m/s)
Windows Service
电表KWh
总有功功率
正向有功总电能
合相功率因数