## Slide 1
B17 Meter System Structure
Dekie Cheng
May 2023

## Slide 2
Physical Device Structure
This service will run on backend by specified interval time, and read the values from the physical device and store into DB tables
水表
立方米
电表
KWh
空调冷冻水流量计 累积流量（Nm3）
瞬时流量(Nm3/h)
瞬时流速(m/s)
进水温度
出水温度
瞬时热量（GJ/h）
累积热量(GJ)
压缩空气流量计
累积流量（Nm3）
瞬时流量(Nm3/h)
瞬时流速(m/s)
进水温度
出水温度
瞬时热量（GJ/h）
累积热量(GJ)
Watermeter1
Watermeter2
Watermeter3
….
Watermeter15
electricity meter1
electricity meter2
electricity meter3
….
electricity meter15
Air-conditioning chilled water flow meter1
Air-conditioning chilled water flow meter2
….
Air-conditioning chilled water flow meter15
RS485
RS485
RS485
RS485
172.1.1.1
172.1.1.2
172.1.1.3
172.1.1.n
Compressed air flowmeter1
Compressed air flowmeter2
….
Compressed air flowmeter15
Windows Service

## Slide 3
System Structure
This service will run on backend by specified interval time, and read the values from the physical device and store into DB tables
Display in Dashboard
SQL Server DB
Watermeter1
Watermeter2
Watermeter3
….
Watermeter15
electricity meter1
electricity meter2
electricity meter3
….
electricity meter15
Air-conditioning chilled water flow meter1
Air-conditioning chilled water flow meter2
….
Air-conditioning chilled water flow meter15
RS485
RS485
RS485
RS485
172.1.1.1
172.1.1.2
172.1.1.3
172.1.1.n
Compressed air flowmeter1
Compressed air flowmeter2
….
Compressed air flowmeter15
水表
立方米
电表
KWh
空调冷冻水流量计 累积流量（Nm3）
瞬时流量(Nm3/h)
瞬时流速(m/s)
进水温度
出水温度
瞬时热量（GJ/h）
累积热量(GJ)
压缩空气流量计
累积流量（Nm3）
瞬时流量(Nm3/h)
瞬时流速(m/s)
进水温度
出水温度
瞬时热量（GJ/h）
累积热量(GJ)
Windows Service

## Slide 4
SQL Server DB
Table Designation
No. | Category | Table Name | Description
1 | Basic Data | udtLNMeterCategory | will store the device category data, at present will include below 4 type: Water Meter(水表) Electricity Meter(电表) Air-conditioning chilled water flow meter(空调冷冻水流量计) Compressed air flow meter(压缩空气流量计)
 |  | udtLNSerialPortServer | will store all above category meter serial port server's HostIP, port and mbid no.
2 | Electricity Meter data | udtLNElectricityMeter | Store the electricity meter device information
 |  | udtLNElectricityMeterMaster | store data by day
 |  | udtLNElectricityMeterDetail | store data by hour
3 | Water Meter data | udtLNWaterMeter | store the water meter device relative information
 |  | udtLNWaterMeterMaster | store data by day
 |  | udtLNWaterMeterDetail | store data by hour
4 | Air-conditioning chilled water flow meter data | udtLNAirConditionWFlowMeterMaster | store data daily
 |  | udtLNAirConditionWFlowMeterMasterDetail | store data hourly
5 | Compressed air flow meter data | udtLNCompressedAirFlowMeterMaster | store data daily
 |  | udtLNCompressedAirFlowMeterDetail | store data hourly
6 | Log Data | udtLNRuntimeLogInfo | store the log information

## Slide 5
Communication Seq for Electricity meter
Serial Port Server
IP: 10.200.7.183
Port: 5300
1. Connect to remote host
IP: 10.200.7.183
Port: 5300
2. Send read request by the command format
This Photo by Unknown Author is licensed under CC BY-SA
Accept the connection request
2. Read data from meter
TCP/IP
Electricity meter
RS485
RS485
RS485
RS485
3. Send data to client
3. Received data from host by the format
Windows Service
电表

## Slide 6
Communication Seq for Water meter
Serial Port Server
IP: 10.200.7.183
Port: 5300
1. Connect to remote host
IP: 10.200.7.183
Port: 5300
2. Send read request by the command format
This Photo by Unknown Author is licensed under CC BY-SA
Accept the connection request
2. Read data from meter
TCP/IP
Electricity meter
RS485
RS485
RS485
RS485
3. Send data to client
3. Received data from host by the format
Windows Service
水表

## Slide 7
Communication Seq for Air-conditioning chilled water flow meter
Serial Port Server
IP: 10.200.7.183
Port: 5300
1. Connect to remote host
IP: 10.200.7.183
Port: 5300
2. Send read request by the command format
This Photo by Unknown Author is licensed under CC BY-SA
Accept the connection request
2. Read data from meter
TCP/IP
Electricity meter
RS485
RS485
RS485
RS485
3. Send data to client
3. Received data from host by the format
Windows Service
空调冷冻水流量计

## Slide 8
Communication Seq for Compressed air flow meter
Serial Port Server
IP: 10.200.7.183
Port: 5300
1. Connect to remote host
IP: 10.200.7.183
Port: 5300
2. Send read request by the command format
This Photo by Unknown Author is licensed under CC BY-SA
Accept the connection request
2. Read data from meter
TCP/IP
Electricity meter
RS485
RS485
RS485
RS485
3. Send data to client
3. Received data from host by the format
Windows Service
压缩空气流量计