## Project Info
System Architecture
Project Code
Full Name | CKW （Champion Kaizen Workshop)
Prefix | LN

## UDT List
No. | Category | Table Name | Description
1 | Basic Data | udtLNMeterCategory | will store the device category data, at present will include below 4 type: Water Meter(水表) Electricity Meter(电表) Air-conditioning chilled water flow meter(空调冷冻水流量计) Compressed air flow meter(压缩空气流量计)
|  | udtLNCommand | will store the specified command to be sent devices.
|  | udtLNSerialPortServer | will store all above category meter serial port server's HostIP, port and mbid no.
2 | Electricity Meter data | udtLNElectricityMeter | Store the electricity meter device information
|  | udtLNElectricityMeterMaster | store data by day
|  | udtLNElectricityMeterDetail | store data by hour
3 | Water Meter data | udtLNWaterMeter | store the water meter device relative information
|  | udtLNWaterMeterMaster | store data by day
|  | udtLNWaterMeterDetail | store data by hour
4 | Air-conditioning chilled water flow meter data | udtLNAirConditionWaterFlowMeter | store theAirConditionWaterFlowMeter device relative information
|  | udtLNAirConditionWaterFlowMeterMaster | store data daily
|  | udtLNAirConditionWFlowMeterMasterDetail | store data hourly
5 | Compressed air flow meter data | udtLNCompressedAirFlowMeter | store the Compressed Air Flow Meter device relative information
|  | udtLNCompressedAirFlowMeterMaster | store data daily
|  | udtLNCompressedAirFlowMeterDetail | store data hourly
6 | Log Data | udtLNRuntimeLogInfo | store the log information

## Table Schema
udtLNMeterCategory
ColumnName | DataType | Comment
ID | INT Identity (1,1)
CategoryName | varchar(200) | will have these values: Water --水表 Electricity --电表 ChilledWaterFlow --空调冷冻水流量计 CompressedAirFlow --压缩空气流量计 | We cannot modify the name. will be used to filter the serial port server and command within the service. We need to config the same name in config file for each service.
CategoryDesc | nvarchar(200) | description of the meter
CycleTime | numeric(10,2)
UDPToSaveData | varchar(200)
UDPToSaveRuntimeLog | varchar(200)
AssemblyName | varchar(200) | DLL name will parse the received data.
ClassName | varchar(200) | Class name of the DLL which wrapper the business logics to parse received data
CreationTime | Datetime | the creation time of the current record is created.
udtLNCommand
ColumnName | DataType | Comment
ID | INT Identity (1,1)
MeterCategoryID | INT | refer to udtLNMeterCategory.ID
CommandName | varchar(200)
CommandValue | varchar(400)
Status | bit | --0:InActive will be skipped, 1: Active default(1) | Will filter by the status = 1
CreationTime | Datetime | creation time of the current record
Note: HostIP+Port is unique
udtLNSerialPortServer
ColumnName | DataType | Comment
ID | INT Identity (1,1)
MeterCategoryID | INT | refer to udtLNMeterCategory.ID
HostIP | varchar(200) | the serial port server host ip
Port | INT | the port number to link with each specified meter device.
Location | nvarchar(200) | the location of the specified device
Status | bit | --0:InActive will be skipped, 1: Active default(1) | Will filter by the status = 1
CreationTime | Datetime | creation time of the current record
Note: HostIP+Port is unique
udtLNElectricityMeter
ColumnName | DataType | Comment
ID | INT Identity (1,1)
SerialPortServerID | INT | refer to udtLNSerialPortServer.ID
MeterAddr | varchar(200) | physical address
MeterName | nvarchar(200) | electricity meter name
MeterNo | varchar(200) | electricity meter number
MeterLevel | varchar(200) | electricity meter level
IsSolarEnergy | bit | electricity meter type
AreaLocation | nvarchar(200) | the area location of the specified device
AreaFunction | nvarchar(200) | the area function of the specified device
CreationTime | Datetime | the creation time of the current record is created.
Note: SerialPortServerID+MeterAddr is unique
udtLNElectricityMeterMaster
ColumnName | DataType | Comment
ID | INT Identity (1,1)
ElectricityMeterID | INT | udtLNMeterHost.ID
CurrDay | varchar(200) | the current day of the record
TAP | numeric(20,4) | will store theTotal active power | 总有功功率
TPAE | numeric(20,4) | will store the Total positive active power and electric energy | 正向有功总电能
CreationTime | Datetime | the creation time of the current record is created.
LastUpdate | Datetime | Last Update datetime
Note: ElectricityMeterID+CurrDay is unique
udtLNElectricityMeterDetail
ColumnName | DataType | Comment
ID | INT Identity (1,1)
ElectricityMeterMasterID | INT | udtLNElectricityMeterMaster.ID
CurrDay | varchar(200) | the current day of the record
TAP | numeric(20,4) | will store theTotal active power | 总有功功率
PreTPAE | numeric(20,4) | will store the Previous Total positive active power and electric energy | 上次正向有功总电能
CurrTPAE | numeric(20,4) | will store the current Total positive active power and electric energy | 本次正向有功总电能
DeltaTPAE | numeric(20,4) | CurrTPAE - PreTPAE | 本次-上次=正向有功总电能差
Reserved_001 | varchar(400)
Reserved_002 | varchar(400)
Reserved_003 | varchar(400)
Reserved_004 | varchar(400)
Reserved_005 | varchar(400)
Reserved_006 | varchar(400)
Reserved_007 | varchar(400)
Reserved_008 | varchar(400)
Reserved_009 | varchar(400)
Reserved_010 | varchar(400)
CreationTime | Datetime | the creation time of the current record is created.
udtLNElectricityMeterExtraData
ColumnName | DataType | Comment
ID | INT Identity (1,1)
ElectricityMeterMasterID | INT | udtLNElectricityMeterMaster.ID
CurrDay | varchar(200) | the current day of the record
APhaseVoltage | numeric(20,4) | will store theTotal active power | A相电压
BPhaseVoltage | numeric(20,4) | will store the Previous Total positive active power and electric energy | B相电压
CPhaseVoltage | numeric(20,4) | will store the current Total positive active power and electric energy | C相电压
APhaseCurrent | numeric(20,4) | CurrTPAE - PreTPAE | A相电流
BPhaseCurrent | numeric(20,4) | will store theTotal active power | B相电流
CPhaseCurrent | numeric(20,4) | will store the Previous Total positive active power and electric energy | C相电流
CPPF | numeric(20,4) | will store the current Total positive active power and electric energy | 合相功率因数
Reserved_001 | varchar(400)
Reserved_002 | varchar(400)
Reserved_003 | varchar(400)
Reserved_004 | varchar(400)
Reserved_005 | varchar(400)
Reserved_006 | varchar(400)
Reserved_007 | varchar(400)
Reserved_008 | varchar(400)
Reserved_009 | varchar(400)
Reserved_010 | varchar(400)
CreationTime | Datetime | the creation time of the current record is created.
udtLNWaterMeter
ColumnName | DataType | Comment
ID | INT Identity (1,1)
SerialPortServerID | INT | refer to udtLNSerialPortServer.ID
MeterAddr | varchar(200) | water meter physical address
MeterName | varchar(200) | water meter name
MeterNo | varchar(200) | water meter no
AreaLocation | nvarchar(200) | area location
AreaFunction | nvarchar(200) | area functon
CreationTime | Datetime | the creation time of the current record is created.
udtLNWaterMeterMaster
ColumnName | DataType | Comment
ID | INT Identity (1,1)
WaterMeterID | INT | udtLNWaterMeter.ID
CurrDay | varchar(200) | the current day of the record
Stere | numeric(10,4) | will store the water stere on the current time.
CreationTime | Datetime | the creation time of the current record is created.
LastUpdate | Datetime | Last Update datetime
Note: MeterHostID+CurrDay is unique
udtLNWaterMeterDetail
ColumnName | DataType | Comment
ID | INT Identity (1,1)
WaterMeterMasterID | INT | udtLNWaterMeterMaster.ID
CurrDay | varchar(200) | the current day of the record
PreStere | numeric(20,4) | will store the previous time water stere on the current time.
CurrStere | numeric(20,4) | will store the currnet latest water stere on the current time.
DeltaStere | numeric(20,4) | CurrStere - PreStere
Reserved_001 | varchar(400)
Reserved_002 | varchar(400)
Reserved_003 | varchar(400)
Reserved_004 | varchar(400)
Reserved_005 | varchar(400)
Reserved_006 | varchar(400)
Reserved_007 | varchar(400)
Reserved_008 | varchar(400)
Reserved_009 | varchar(400)
Reserved_010 | varchar(400)
CreationTime | Datetime | the creation time of the current record is created.
udtLNAirConditionWaterFlowMeter
ColumnName | DataType | Comment
ID | INT Identity (1,1)
SerialPortServerID | INT | refer to udtLNSerialPortServer.ID
MeterAddr | varchar(200) | physical address
MeterName | varchar(200) | AirConditionWater Flow Meter meter name
MeterNo | varchar(200) | water meter no
AreaLocation | nvarchar(200) | area location
AreaFunction | nvarchar(200) | area functon
CreationTime | Datetime | the creation time of the current record is created.
udtLNAirConditionWaterFlowMeterMaster
ColumnName | DataType | Comment
ID | INT Identity (1,1)
AirConditionWaterFlowMeterID | INT | udtLNAirConditionWaterFlowMeter.ID
CurrDay | varchar(200) | the current day of the record
Accumulatedflow | numeric(20,4) | 累积流量（Nm3）
Instantflow | numeric(20,4) | 瞬时流量（Nm3/h）
Instantflowrate | numeric(20,4) | 瞬时流速(m/s)
InletWaterTemperature | numeric(20,4) | 进水温度
OutletWaterTemperature | numeric(20,4) | 出水温度
Instantaneousheat | numeric(20,4) | 瞬时热量（GJ/h）
Accumulatedheat | numeric(20,4) | 累积热量(GJ)
Reserved_001 | varchar(400)
Reserved_002 | varchar(400)
Reserved_003 | varchar(400)
Reserved_004 | varchar(400)
Reserved_005 | varchar(400)
Reserved_006 | varchar(400)
Reserved_007 | varchar(400)
Reserved_008 | varchar(400)
Reserved_009 | varchar(400)
Reserved_010 | varchar(400)
CreationTime | Datetime | the creation time of the current record is created.
Note: MeterHostID+CurrDay is unique
udtLNCompressedAirFlowMeter
ColumnName | DataType | Comment
ID | INT Identity (1,1)
SerialPortServerID | INT | refer to udtLNSerialPortServer.ID
MeterAddr | varchar(200) | physical address
MeterName | varchar(200) | Compressed Air Flow Meter meter name
MeterNo | varchar(200) | water meter no
AreaLocation | nvarchar(200) | area location
AreaFunction | nvarchar(200) | area functon
CreationTime | Datetime | the creation time of the current record is created.
udtLNCompressedAirFlowMeterMaster
ColumnName | DataType | Comment
ID | INT Identity (1,1)
CompressedAirFlowMeterID | INT | udtLNMeterHost.ID
CurrDay | varchar(200) | the current day of the record
Accumulatedflow | numeric(20,4) | 累积流量（Nm3）
Instantflow | numeric(20,4) | 瞬时流量（Nm3/h）
Instantflowrate | numeric(20,4) | 瞬时流速(m/s)
Reserved_001 | varchar(400)
Reserved_002 | varchar(400)
Reserved_003 | varchar(400)
Reserved_004 | varchar(400)
Reserved_005 | varchar(400)
Reserved_006 | varchar(400)
Reserved_007 | varchar(400)
Reserved_008 | varchar(400)
Reserved_009 | varchar(400)
Reserved_010 | varchar(400)
CreationTime | Datetime | the creation time of the current record is created.
Note: MeterHostID+CurrDay is unique

## Basic Data
udtLNMeterCategory
ID | Description
1 | Water Meter(水表)
2 | Electricity Meter(电表)
3 | Air-conditioning chilled water flow meter
4 | Compressed air flow meter
udtLNMeterHost
ID | MeterCategoryID | HostIP | Port | location | CreationTime
1 | 1 | 10.200.7.181 | 1 | B171F | 5/22/2023 11:23:50 AM
2 | 1 | 10.200.7.181 | 2 | B171F | 5/22/2023 11:23:50 AM
3 | 1 | 10.200.7.181 | 3 | B171F | 5/22/2023 11:23:50 AM
4 | 1 | 10.200.7.181 | 4 | B171F | 5/22/2023 11:23:50 AM
5 | 2 | 10.200.7.182 | 1 | B171F | 5/22/2023 11:23:50 AM
6 | 2 | 10.200.7.182 | 2 | B171F | 5/22/2023 11:23:50 AM
7 | 2 | 10.200.7.182 | 3 | B171F | 5/22/2023 11:23:50 AM
8 | 3 | 10.200.7.183 | 1 | B171F | 5/22/2023 11:23:50 AM
9 | 3 | 10.200.7.183 | 2 | B171F | 5/22/2023 11:23:50 AM
10 | 3 | 10.200.7.183 | 3 | B171F | 5/22/2023 11:23:50 AM
11 | 3 | 10.200.7.183 | 4 | B171F | 5/22/2023 11:23:50 AM
12 | 4 | 10.200.7.184 | 1 | B171F | 5/22/2023 11:23:50 AM
13 | 4 | 10.200.7.184 | 2 | B171F | 5/22/2023 11:23:50 AM
14 | 4 | 10.200.7.184 | 3 | B171F | 5/22/2023 11:23:50 AM
15 | 4 | 10.200.7.184 | 4 | B171F | 5/22/2023 11:23:50 AM

## Water Meter Demo Data
udtLNWaterMeterMaster
ID | MeterHostID | CurrDay | WaterAmount | CreationTime | CreationTime
1 | 1 | 20230521 | 1230 | 5/21/2023 00:00:50 AM | 5/21/2023 23:23:50 PM
2 | 1 | 20230522 | 230 | 5/22/2023 00:00:50 AM | 5/22/2023 23:23:50 PM
3 | 1 | 20230523 | 350 | 5/23/2023 00:00:50 AM | 5/23/2023 23:23:50 PM
5 | 2 | 20230521 | 110 | 5/21/2023 00:00:50 AM | 5/21/2023 23:23:50 PM
6 | 2 | 20230522 | 230 | 5/22/2023 00:00:50 AM | 5/22/2023 23:23:50 PM
7 | 2 | 20230523 | 350 | 5/23/2023 00:00:50 AM | 5/23/2023 23:23:50 PM
8 | 3 | 20230521 | 110 | 5/21/2023 00:00:50 AM | 5/21/2023 23:23:50 PM
9 | 3 | 20230522 | 230 | 5/22/2023 00:00:50 AM | 5/22/2023 23:23:50 PM
10 | 3 | 20230523 | 350 | 5/23/2023 00:00:50 AM | 5/23/2023 23:23:50 PM
11 | 4 | 20230521 | 110 | 5/21/2023 00:00:50 AM | 5/21/2023 23:23:50 PM
12 | 4 | 20230522 | 230 | 5/22/2023 00:00:50 AM | 5/22/2023 23:23:50 PM
13 | 4 | 20230523 | 350 | 5/23/2023 00:00:50 AM | 5/23/2023 23:23:50 PM
udtLNWaterMeterDetail
ID | WaterMeterMasterID | CurrDay | PreWaterAmount | CurrWaterAmount | DeltaWaterAmount | CreationTime
1 | 1 | 20230521 | 0 | 230 | 230 | 5/21/2023 00:00:00 AM
1 | 1 | 20230521 | 230 | 480 | 250 | 5/21/2023 01:00:00 AM
1 | 1 | 20230521 | 480 | 770 | 290 | 5/21/2023 02:00:00 AM
1 | 1 | 20230521 | 770 | 1000 | 230 | 5/21/2023 03:00:00 AM
1 | 1 | 20230521 | 1000 | 1230 | 230 | 5/21/2023 04:00:00 AM
7 | 2 | 20230521 | 0 | 230 | 230 | 5/21/2023 00:00:00 AM
8 | 2 | 20230521 | 230 | 480 | 250 | 5/21/2023 01:00:00 AM
9 | 2 | 20230521 | 480 | 770 | 290 | 5/21/2023 02:00:00 AM
10 | 2 | 20230521 | 770 | 1000 | 230 | 5/21/2023 03:00:00 AM
11 | 2 | 20230521 | 1000 | 1230 | 230 | 5/21/2023 04:00:00 AM
12 | 3 | 20230521 | 0 | 230 | 230 | 5/21/2023 00:00:00 AM
13 | 3 | 20230521 | 230 | 480 | 250 | 5/21/2023 01:00:00 AM