## Slide 1
B17 Meter System Dashboard Designation
Dekie Cheng
June 2023

## Slide 2
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA
设目标用电数和百分比 （ By day, week ），超目标数，Auto发邮件通知后台脚本 。
Dashboard by Day, Week and Month
Dashboard 默认展示 by day 页面
报表：

## Slide 3
Dashboard Structure
空调流量计
累积热量 (Gj)
出水温度
By hour
By hour
By hour
By hour

## Slide 4
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA

## Slide 5
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA

## Slide 6
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA

## Slide 7
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA
SQL Server DB
Sample by day/week/month

## Slide 8
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA
SQL Server DB
Sample by week

## Slide 9
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA
SQL Server DB
Sample by month

## Slide 10
Dashboard Structure
This Photo by Unknown Author is licensed under CC BY-SA
SQL Server DB